{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["YAG-BBAR Curve","YAG-BBAR"],"not_rendered":{"charts":2,"images":2,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"YAG-BBAR Curve","index":0,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"YAG-BBAR","index":1,"n_rows":852,"n_cols":4,"rows_kept":852,"cut":false,"hidden":false,"merged":[[15,0,16,1],[3,0,3,1],[4,0,4,1],[5,0,5,1],[6,0,8,1],[9,0,14,1]]}
[null,null,"λ (nm)","R (%)"]
[null,null,350,37.224400000000003]
[null,null,351,36.6571]
["Theoretical Coating Data",null,352,36.069899999999997]
["YAG-BBAR Coating",null,353,35.463700000000003]
["Coating Specification: \n",null,354,34.839199999999998]
["Rabs ≤0.25% @ 532nm\nRabs ≤0.25% @ 1064nm\nRavg ≤1.0% @ 500 - 1100nm\n",null,355,34.197400000000002]
[null,null,356,33.539400000000001]
[null,null,357,32.866100000000003]
["This data represents the theoretical performance of the coating per surface and is for reference only. \nVariations in performance may occur, however the coating will achieve the minimum performance specification listed above within the specified wavelength range. For more information please contact our Product and Application Support.\n",null,358,32.178699999999999]
[null,null,359,31.478300000000001]
[null,null,360,30.766100000000002]
[null,null,361,30.043199999999999]
[null,null,362,29.3111]
[null,null,363,28.571000000000002]
["Not what you're looking for? Click here for a full list of our standard AR coatings.",null,364,27.824300000000001]
[null,null,365,27.072299999999998]
[null,null,366,26.316600000000001]
[null,null,367,25.4574]
[null,null,368,24.597000000000001]
[null,null,369,23.737400000000001]
[null,null,370,22.880800000000001]
[null,null,371,22.029199999999999]
[null,null,372,21.184799999999999]
[null,null,373,20.349499999999999]
[null,null,374,19.525400000000001]
[null,null,375,18.714600000000001]
[null,null,376,17.919]
[null,null,377,17.1403]
[null,null,378,16.380400000000002]
[null,null,379,15.641]
[null,null,380,14.9236]
[null,null,381,14.2296]
[null,null,382,13.5602]
[null,null,383,12.9168]
[null,null,384,12.3001]
[null,null,385,11.7111]
[null,null,386,11.150499999999999]
[null,null,387,10.6187]
[null,null,388,10.116099999999999]
[null,null,389,9.6430000000000007]
[null,null,390,9.1991999999999994]
[null,null,391,8.7848000000000006]
[null,null,392,8.3994]
[null,null,393,8.0426000000000002]
[null,null,394,7.7140000000000004]
[null,null,395,7.4127999999999998]
[null,null,396,7.1383000000000001]
[null,null,397,6.8895999999999997]
[null,null,398,6.6657999999999999]
[null,null,399,6.4657999999999998]
[null,null,400,6.2887000000000004]
[null,null,401,6.1397000000000004]
[null,null,402,6.0168999999999997]
[null,null,403,5.9100999999999999]
[null,null,404,5.8181000000000003]
[null,null,405,5.7397999999999998]
[null,null,406,5.6741000000000001]
[null,null,407,5.62]
[null,null,408,5.5762999999999998]
[null,null,409,5.5419999999999998]
[null,null,410,5.5160999999999998]
[null,null,411,5.4976000000000003]
[null,null,412,5.4855999999999998]
[null,null,413,5.4791999999999996]
[null,null,414,5.4775]
[null,null,415,5.4797000000000002]
[null,null,416,5.4850000000000003]
[null,null,417,5.4927000000000001]
[null,null,418,5.5021000000000004]
[null,null,419,5.5125999999999999]
[null,null,420,5.5236000000000001]
[null,null,421,5.5343999999999998]
[null,null,422,5.5446999999999997]
[null,null,423,5.5538999999999996]
[null,null,424,5.5617000000000001]
[null,null,425,5.5675999999999997]
[null,null,426,5.5712000000000002]
[null,null,427,5.5723000000000003]
[null,null,428,5.5705999999999998]
[null,null,429,5.5659000000000001]
[null,null,430,5.5579000000000001]
[null,null,431,5.5465]
[null,null,432,5.5315000000000003]
[null,null,433,5.5128000000000004]
[null,null,434,5.4903000000000004]
[null,null,435,5.4638999999999998]
[null,null,436,5.4336000000000002]
[null,null,437,5.3994]
[null,null,438,5.3613]
[null,null,439,5.3193000000000001]
[null,null,440,5.2733999999999996]
[null,null,441,5.2237]
[null,null,442,5.1702000000000004]
[null,null,443,5.1130000000000004]
[null,null,444,5.0522999999999998]
[null,null,445,4.9882]
[null,null,446,4.9207000000000001]
[null,null,447,4.8498999999999999]
[null,null,448,4.7744999999999997]
[null,null,449,4.6970000000000001]
[null,null,450,4.6177000000000001]
[null,null,451,4.5366]
[null,null,452,4.4539]
[null,null,453,4.3696999999999999]
[null,null,454,4.2842000000000002]
[null,null,455,4.1974999999999998]
[null,null,456,4.1097999999999999]
[null,null,457,4.0210999999999997]
[null,null,458,3.9317000000000002]
[null,null,459,3.8416000000000001]
[null,null,460,3.7509000000000001]
[null,null,461,3.6598999999999999]
[null,null,462,3.5686]
[null,null,463,3.4771999999999998]
[null,null,464,3.3858000000000001]
[null,null,465,3.2945000000000002]
[null,null,466,3.2033999999999998]
[null,null,467,3.1126]
[null,null,468,3.0223]
[null,null,469,2.9325000000000001]
[null,null,470,2.8433000000000002]
[null,null,471,2.7549000000000001]
[null,null,472,2.6673]
[null,null,473,2.5807000000000002]
[null,null,474,2.4950000000000001]
[null,null,475,2.4104000000000001]
[null,null,476,2.327]
[null,null,477,2.2448000000000001]
[null,null,478,2.1638000000000002]
[null,null,479,2.0842999999999998]
[null,null,480,2.0061]
[null,null,481,1.9294]
[null,null,482,1.8542000000000001]
[null,null,483,1.7805]
[null,null,484,1.7083999999999999]
[null,null,485,1.6379999999999999]
[null,null,486,1.5691999999999999]
[null,null,487,1.5021]
[null,null,488,1.4367000000000001]
[null,null,489,1.373]
[null,null,490,1.3109999999999999]
[null,null,491,1.2507999999999999]
[null,null,492,1.1923999999999999]
[null,null,493,1.1356999999999999]
[null,null,494,1.0808]
[null,null,495,1.0276000000000001]
[null,null,496,0.97619999999999996]
[null,null,497,0.92649999999999999]
[null,null,498,0.87860000000000005]
[null,null,499,0.83240000000000003]
[null,null,500,0.78790000000000004]
[null,null,501,0.745]
[null,null,502,0.70389999999999997]
[null,null,503,0.66439999999999999]
[null,null,504,0.62649999999999995]
[null,null,505,0.59030000000000005]
[null,null,506,0.55549999999999999]
[null,null,507,0.52239999999999998]
[null,null,508,0.49070000000000003]
[null,null,509,0.46050000000000002]
[null,null,510,0.43180000000000002]
[null,null,511,0.40450000000000003]
[null,null,512,0.3785]
[null,null,513,0.35389999999999999]
[null,null,514,0.3306]
[null,null,515,0.3085]
[null,null,516,0.28770000000000001]
[null,null,517,0.2681]
[null,null,518,0.24959999999999999]
[null,null,519,0.23219999999999999]
[null,null,520,0.216]
[null,null,521,0.20069999999999999]
[null,null,522,0.1865]
[null,null,523,0.17319999999999999]
[null,null,524,0.1608]
[null,null,525,0.14929999999999999]
[null,null,526,0.13869999999999999]
[null,null,527,0.12889999999999999]
[null,null,528,0.11990000000000001]
[null,null,529,0.1116]
[null,null,530,0.104]
[null,null,531,9.7100000000000006E-2]
[null,null,532,9.0899999999999995E-2]
[null,null,533,8.5199999999999998E-2]
[null,null,534,8.0199999999999994E-2]
[null,null,535,7.5600000000000001E-2]
[null,null,536,7.1599999999999997E-2]
[null,null,537,6.8099999999999994E-2]
[null,null,538,6.5100000000000005E-2]
[null,null,539,6.25E-2]
[null,null,540,6.0299999999999999E-2]
[null,null,541,5.8400000000000001E-2]
[null,null,542,5.6899999999999999E-2]
[null,null,543,5.57E-2]
[null,null,544,5.4699999999999999E-2]
[null,null,545,5.4100000000000002E-2]
[null,null,546,5.3699999999999998E-2]
[null,null,547,5.3499999999999999E-2]
[null,null,548,5.3600000000000002E-2]
[null,null,549,5.3800000000000001E-2]
[null,null,550,5.4300000000000001E-2]
[null,null,551,5.4800000000000001E-2]
[null,null,552,5.5599999999999997E-2]
[null,null,553,5.6599999999999998E-2]
[null,null,554,5.7799999999999997E-2]
[null,null,555,5.9299999999999999E-2]
[null,null,556,6.0900000000000003E-2]
[null,null,557,6.2799999999999995E-2]
[null,null,558,6.4799999999999996E-2]
[null,null,559,6.6900000000000001E-2]
[null,null,560,6.9199999999999998E-2]
[null,null,561,7.1599999999999997E-2]
[null,null,562,7.4200000000000002E-2]
[null,null,563,7.6899999999999996E-2]
[null,null,564,7.9699999999999993E-2]
[null,null,565,8.2600000000000007E-2]
[null,null,566,8.5599999999999996E-2]
[null,null,567,8.8700000000000001E-2]
[null,null,568,9.1800000000000007E-2]
[null,null,569,9.5100000000000004E-2]
[null,null,570,9.8400000000000001E-2]
[null,null,571,0.1018]
[null,null,572,0.1052]
[null,null,573,0.1087]
[null,null,574,0.1123]
[null,null,575,0.1159]
[null,null,576,0.1196]
[null,null,577,0.12330000000000001]
[null,null,578,0.127]
[null,null,579,0.1308]
[null,null,580,0.13469999999999999]
[null,null,581,0.1386]
[null,null,582,0.14249999999999999]
[null,null,583,0.1464]
[null,null,584,0.15040000000000001]
[null,null,585,0.15440000000000001]
[null,null,586,0.1585]
[null,null,587,0.16259999999999999]
[null,null,588,0.1668]
[null,null,589,0.17100000000000001]
[null,null,590,0.17519999999999999]
[null,null,591,0.17949999999999999]
[null,null,592,0.18379999999999999]
[null,null,593,0.18809999999999999]
[null,null,594,0.19259999999999999]
[null,null,595,0.19700000000000001]
[null,null,596,0.20150000000000001]
[null,null,597,0.20610000000000001]
[null,null,598,0.2107]
[null,null,599,0.21540000000000001]
[null,null,600,0.22020000000000001]
[null,null,601,0.22489999999999999]
[null,null,602,0.22969999999999999]
[null,null,603,0.2346]
[null,null,604,0.23960000000000001]
[null,null,605,0.24460000000000001]
[null,null,606,0.24970000000000001]
[null,null,607,0.25490000000000002]
[null,null,608,0.26019999999999999]
[null,null,609,0.26550000000000001]
[null,null,610,0.27100000000000002]
[null,null,611,0.27650000000000002]
[null,null,612,0.28210000000000002]
[null,null,613,0.2878]
[null,null,614,0.29360000000000003]
[null,null,615,0.29949999999999999]
[null,null,616,0.30549999999999999]
[null,null,617,0.31159999999999999]
[null,null,618,0.31780000000000003]
[null,null,619,0.32419999999999999]
[null,null,620,0.3306]
[null,null,621,0.3372]
[null,null,622,0.34379999999999999]
[null,null,623,0.35060000000000002]
[null,null,624,0.35749999999999998]
[null,null,625,0.36459999999999998]
[null,null,626,0.37169999999999997]
[null,null,627,0.379]
[null,null,628,0.38640000000000002]
[null,null,629,0.39389999999999997]
[null,null,630,0.40160000000000001]
[null,null,631,0.40939999999999999]
[null,null,632,0.4173]
[null,null,633,0.4254]
[null,null,634,0.43359999999999999]
[null,null,635,0.44190000000000002]
[null,null,636,0.45040000000000002]
[null,null,637,0.45900000000000002]
[null,null,638,0.4677]
[null,null,639,0.47660000000000002]
[null,null,640,0.48559999999999998]
[null,null,641,0.49469999999999997]
[null,null,642,0.504]
[null,null,643,0.51339999999999997]
[null,null,644,0.52300000000000002]
[null,null,645,0.53259999999999996]
[null,null,646,0.54249999999999998]
[null,null,647,0.5524]
[null,null,648,0.5625]
[null,null,649,0.57269999999999999]
[null,null,650,0.58309999999999995]
[null,null,651,0.59379999999999999]
[null,null,652,0.60450000000000004]
[null,null,653,0.61550000000000005]
[null,null,654,0.62649999999999995]
[null,null,655,0.63770000000000004]
[null,null,656,0.64900000000000002]
[null,null,657,0.66039999999999999]
[null,null,658,0.67190000000000005]
[null,null,659,0.68359999999999999]
[null,null,660,0.69540000000000002]
[null,null,661,0.70730000000000004]
[null,null,662,0.71930000000000005]
[null,null,663,0.73140000000000005]
[null,null,664,0.74360000000000004]
[null,null,665,0.75590000000000002]
[null,null,666,0.76829999999999998]
[null,null,667,0.78080000000000005]
[null,null,668,0.79339999999999999]
[null,null,669,0.80610000000000004]
[null,null,670,0.81889999999999996]
[null,null,671,0.83169999999999999]
[null,null,672,0.84470000000000001]
[null,null,673,0.85770000000000002]
[null,null,674,0.87080000000000002]
[null,null,675,0.88400000000000001]
[null,null,676,0.8972]
[null,null,677,0.91059999999999997]
[null,null,678,0.92390000000000005]
[null,null,679,0.93730000000000002]
[null,null,680,0.95079999999999998]
[null,null,681,0.96440000000000003]
[null,null,682,0.97789999999999999]
[null,null,683,0.99160000000000004]
[null,null,684,1.0052000000000001]
[null,null,685,1.0188999999999999]
[null,null,686,1.0326]
[null,null,687,1.0464]
[null,null,688,1.0602]
[null,null,689,1.0740000000000001]
[null,null,690,1.0878000000000001]
[null,null,691,1.1015999999999999]
[null,null,692,1.1153999999999999]
[null,null,693,1.1293]
[null,null,694,1.1431]
[null,null,695,1.157]
[null,null,696,1.1708000000000001]
[null,null,697,1.1846000000000001]
[null,null,698,1.1983999999999999]
[null,null,699,1.2121999999999999]
[null,null,700,1.2259]
[null,null,701,1.2388999999999999]
[null,null,702,1.2519]
[null,null,703,1.2647999999999999]
[null,null,704,1.2777000000000001]
[null,null,705,1.2905]
[null,null,706,1.3032999999999999]
[null,null,707,1.3160000000000001]
[null,null,708,1.3286]
[null,null,709,1.3411999999999999]
[null,null,710,1.3536999999999999]
[null,null,711,1.3661000000000001]
[null,null,712,1.3785000000000001]
[null,null,713,1.3908]
[null,null,714,1.403]
[null,null,715,1.4151]
[null,null,716,1.4271]
[null,null,717,1.4391]
[null,null,718,1.4509000000000001]
[null,null,719,1.4626999999999999]
[null,null,720,1.4742999999999999]
[null,null,721,1.4859]
[null,null,722,1.4973000000000001]
[null,null,723,1.5085999999999999]
[null,null,724,1.5199]
[null,null,725,1.5309999999999999]
[null,null,726,1.5419]
[null,null,727,1.5528]
[null,null,728,1.5634999999999999]
[null,null,729,1.5742]
[null,null,730,1.5846]
[null,null,731,1.595]
[null,null,732,1.6052]
[null,null,733,1.6153]
[null,null,734,1.6253]
[null,null,735,1.6351]
[null,null,736,1.6447000000000001]
[null,null,737,1.6543000000000001]
[null,null,738,1.6636]
[null,null,739,1.6732]
[null,null,740,1.6827000000000001]
[null,null,741,1.6919999999999999]
[null,null,742,1.7012]
[null,null,743,1.7101999999999999]
[null,null,744,1.7191000000000001]
[null,null,745,1.7279]
[null,null,746,1.7364999999999999]
[null,null,747,1.7448999999999999]
[null,null,748,1.7532000000000001]
[null,null,749,1.7613000000000001]
[null,null,750,1.7693000000000001]
[null,null,751,1.7770999999999999]
[null,null,752,1.7847999999999999]
[null,null,753,1.7922]
[null,null,754,1.7996000000000001]
[null,null,755,1.8067]
[null,null,756,1.8137000000000001]
[null,null,757,1.8206]
[null,null,758,1.8271999999999999]
[null,null,759,1.8337000000000001]
[null,null,760,1.84]
[null,null,761,1.8461000000000001]
[null,null,762,1.8521000000000001]
[null,null,763,1.8579000000000001]
[null,null,764,1.8634999999999999]
[null,null,765,1.8689]
[null,null,766,1.8742000000000001]
[null,null,767,1.8793]
[null,null,768,1.8842000000000001]
[null,null,769,1.8889]
[null,null,770,1.8934]
[null,null,771,1.8976999999999999]
[null,null,772,1.9018999999999999]
[null,null,773,1.9058999999999999]
[null,null,774,1.9097]
[null,null,775,1.9133]
[null,null,776,1.9167000000000001]
[null,null,777,1.9198999999999999]
[null,null,778,1.923]
[null,null,779,1.9258]
[null,null,780,1.9285000000000001]
[null,null,781,1.931]
[null,null,782,1.9333]
[null,null,783,1.9354]
[null,null,784,1.9373]
[null,null,785,1.9390000000000001]
[null,null,786,1.9406000000000001]
[null,null,787,1.9419]
[null,null,788,1.9431]
[null,null,789,1.9440999999999999]
[null,null,790,1.9448000000000001]
[null,null,791,1.9454]
[null,null,792,1.9459]
[null,null,793,1.9460999999999999]
[null,null,794,1.9460999999999999]
[null,null,795,1.946]
[null,null,796,1.9456]
[null,null,797,1.9451000000000001]
[null,null,798,1.9443999999999999]
[null,null,799,1.9435]
[null,null,800,1.9423999999999999]
[null,null,801,1.9412]
[null,null,802,1.9397]
[null,null,803,1.9380999999999999]
[null,null,804,1.9362999999999999]
[null,null,805,1.9342999999999999]
[null,null,806,1.9321999999999999]
[null,null,807,1.9298]
[null,null,808,1.9273]
[null,null,809,1.9246000000000001]
[null,null,810,1.9217]
[null,null,811,1.9187000000000001]
[null,null,812,1.9155]
[null,null,813,1.9120999999999999]
[null,null,814,1.9085000000000001]
[null,null,815,1.9047000000000001]
[null,null,816,1.9008]
[null,null,817,1.8967000000000001]
[null,null,818,1.8925000000000001]
[null,null,819,1.8880999999999999]
[null,null,820,1.8835]
[null,null,821,1.8787]
[null,null,822,1.8737999999999999]
[null,null,823,1.8688]
[null,null,824,1.8634999999999999]
[null,null,825,1.8581000000000001]
[null,null,826,1.8526]
[null,null,827,1.8469]
[null,null,828,1.841]
[null,null,829,1.835]
[null,null,830,1.8289]
[null,null,831,1.8225]
[null,null,832,1.8161]
[null,null,833,1.8095000000000001]
[null,null,834,1.8027]
[null,null,835,1.7958000000000001]
[null,null,836,1.7887999999999999]
[null,null,837,1.7816000000000001]
[null,null,838,1.7743]
[null,null,839,1.7667999999999999]
[null,null,840,1.7592000000000001]
[null,null,841,1.7515000000000001]
[null,null,842,1.7436]
[null,null,843,1.7356]
[null,null,844,1.7275]
[null,null,845,1.7193000000000001]
[null,null,846,1.7109000000000001]
[null,null,847,1.7023999999999999]
[null,null,848,1.6938]
[null,null,849,1.6851]
[null,null,850,1.6761999999999999]
[null,null,851,1.6672]
[null,null,852,1.6580999999999999]
[null,null,853,1.6489]
[null,null,854,1.6395999999999999]
[null,null,855,1.6302000000000001]
[null,null,856,1.6207]
[null,null,857,1.6111]
[null,null,858,1.6012999999999999]
[null,null,859,1.5914999999999999]
[null,null,860,1.5815999999999999]
[null,null,861,1.5714999999999999]
[null,null,862,1.5613999999999999]
[null,null,863,1.5511999999999999]
[null,null,864,1.5408999999999999]
[null,null,865,1.5305]
[null,null,866,1.52]
[null,null,867,1.5094000000000001]
[null,null,868,1.4987999999999999]
[null,null,869,1.4881]
[null,null,870,1.4773000000000001]
[null,null,871,1.4663999999999999]
[null,null,872,1.4554]
[null,null,873,1.4443999999999999]
[null,null,874,1.4333]
[null,null,875,1.4220999999999999]
[null,null,876,1.4108000000000001]
[null,null,877,1.3995]
[null,null,878,1.3882000000000001]
[null,null,879,1.3767]
[null,null,880,1.3652]
[null,null,881,1.3536999999999999]
[null,null,882,1.3421000000000001]
[null,null,883,1.3304]
[null,null,884,1.3187]
[null,null,885,1.3069999999999999]
[null,null,886,1.2951999999999999]
[null,null,887,1.2833000000000001]
[null,null,888,1.2714000000000001]
[null,null,889,1.2595000000000001]
[null,null,890,1.2476]
[null,null,891,1.2355]
[null,null,892,1.2235]
[null,null,893,1.2114]
[null,null,894,1.1993]
[null,null,895,1.1872]
[null,null,896,1.1751]
[null,null,897,1.1629]
[null,null,898,1.1507000000000001]
[null,null,899,1.1385000000000001]
[null,null,900,1.1262000000000001]
[null,null,901,1.1140000000000001]
[null,null,902,1.1016999999999999]
[null,null,903,1.0893999999999999]
[null,null,904,1.0771999999999999]
[null,null,905,1.0649]
[null,null,906,1.0526]
[null,null,907,1.0403]
[null,null,908,1.028]
[null,null,909,1.0156000000000001]
[null,null,910,1.0033000000000001]
[null,null,911,0.99099999999999999]
[null,null,912,0.97870000000000001]
[null,null,913,0.96650000000000003]
[null,null,914,0.95420000000000005]
[null,null,915,0.94189999999999996]
[null,null,916,0.92959999999999998]
[null,null,917,0.91739999999999999]
[null,null,918,0.9052]
[null,null,919,0.89300000000000002]
[null,null,920,0.88080000000000003]
[null,null,921,0.86860000000000004]
[null,null,922,0.85650000000000004]
[null,null,923,0.84440000000000004]
[null,null,924,0.83230000000000004]
[null,null,925,0.82030000000000003]
[null,null,926,0.80820000000000003]
[null,null,927,0.79620000000000002]
[null,null,928,0.7843]
[null,null,929,0.77239999999999998]
[null,null,930,0.76049999999999995]
[null,null,931,0.74870000000000003]
[null,null,932,0.7369]
[null,null,933,0.72509999999999997]
[null,null,934,0.71340000000000003]
[null,null,935,0.70169999999999999]
[null,null,936,0.69010000000000005]
[null,null,937,0.67859999999999998]
[null,null,938,0.66710000000000003]
[null,null,939,0.65559999999999996]
[null,null,940,0.64419999999999999]
[null,null,941,0.63290000000000002]
[null,null,942,0.62160000000000004]
[null,null,943,0.61040000000000005]
[null,null,944,0.59919999999999995]
[null,null,945,0.58809999999999996]
[null,null,946,0.57709999999999995]
[null,null,947,0.56610000000000005]
[null,null,948,0.55520000000000003]
[null,null,949,0.5444]
[null,null,950,0.53359999999999996]
[null,null,951,0.52290000000000003]
[null,null,952,0.51229999999999998]
[null,null,953,0.50180000000000002]
[null,null,954,0.49130000000000001]
[null,null,955,0.48089999999999999]
[null,null,956,0.47060000000000002]
[null,null,957,0.46039999999999998]
[null,null,958,0.45019999999999999]
[null,null,959,0.44019999999999998]
[null,null,960,0.43020000000000003]
[null,null,961,0.42030000000000001]
[null,null,962,0.41049999999999998]
[null,null,963,0.40079999999999999]
[null,null,964,0.39119999999999999]
[null,null,965,0.38169999999999998]
[null,null,966,0.37219999999999998]
[null,null,967,0.3629]
[null,null,968,0.35360000000000003]
[null,null,969,0.34449999999999997]
[null,null,970,0.33539999999999998]
[null,null,971,0.32650000000000001]
[null,null,972,0.31759999999999999]
[null,null,973,0.30890000000000001]
[null,null,974,0.30020000000000002]
[null,null,975,0.29170000000000001]
[null,null,976,0.2833]
[null,null,977,0.27489999999999998]
[null,null,978,0.26669999999999999]
[null,null,979,0.2586]
[null,null,980,0.25059999999999999]
[null,null,981,0.2427]
[null,null,982,0.2349]
[null,null,983,0.22720000000000001]
[null,null,984,0.21959999999999999]
[null,null,985,0.2122]
[null,null,986,0.20480000000000001]
[null,null,987,0.1976]
[null,null,988,0.1905]
[null,null,989,0.1835]
[null,null,990,0.1767]
[null,null,991,0.1699]
[null,null,992,0.1633]
[null,null,993,0.15679999999999999]
[null,null,994,0.15040000000000001]
[null,null,995,0.14410000000000001]
[null,null,996,0.13800000000000001]
[null,null,997,0.13200000000000001]
[null,null,998,0.12609999999999999]
[null,null,999,0.1203]
[null,null,1000,0.1147]
[null,null,1001,0.10920000000000001]
[null,null,1002,0.1038]
[null,null,1003,9.8599999999999993E-2]
[null,null,1004,9.3399999999999997E-2]
[null,null,1005,8.8499999999999995E-2]
[null,null,1006,8.3599999999999994E-2]
[null,null,1007,7.8899999999999998E-2]
[null,null,1008,7.4300000000000005E-2]
[null,null,1009,6.9800000000000001E-2]
[null,null,1010,6.5500000000000003E-2]
[null,null,1011,6.13E-2]
[null,null,1012,5.7200000000000001E-2]
[null,null,1013,5.33E-2]
[null,null,1014,4.9500000000000002E-2]
[null,null,1015,4.5900000000000003E-2]
[null,null,1016,4.24E-2]
[null,null,1017,3.9E-2]
[null,null,1018,3.5799999999999998E-2]
[null,null,1019,3.2599999999999997E-2]
[null,null,1020,2.9700000000000001E-2]
[null,null,1021,2.69E-2]
[null,null,1022,2.4199999999999999E-2]
[null,null,1023,2.1600000000000001E-2]
[null,null,1024,1.9199999999999998E-2]
[null,null,1025,1.7000000000000001E-2]
[null,null,1026,1.4800000000000001E-2]
[null,null,1027,1.29E-2]
[null,null,1028,1.0999999999999999E-2]
[null,null,1029,9.2999999999999992E-3]
[null,null,1030,7.7999999999999996E-3]
[null,null,1031,6.3E-3]
[null,null,1032,5.1000000000000004E-3]
[null,null,1033,4.0000000000000001E-3]
[null,null,1034,3.0000000000000001E-3]
[null,null,1035,2.0999999999999999E-3]
[null,null,1036,1.4E-3]
[null,null,1037,8.9999999999999998E-4]
[null,null,1038,5.0000000000000001E-4]
[null,null,1039,2.0000000000000001E-4]
[null,null,1040,1E-4]
[null,null,1041,1E-4]
[null,null,1042,2.9999999999999997E-4]
[null,null,1043,5.9999999999999995E-4]
[null,null,1044,1.1000000000000001E-3]
[null,null,1045,1.6999999999999999E-3]
[null,null,1046,2.5000000000000001E-3]
[null,null,1047,3.3999999999999998E-3]
[null,null,1048,4.4000000000000003E-3]
[null,null,1049,5.5999999999999999E-3]
[null,null,1050,6.8999999999999999E-3]
[null,null,1051,8.3999999999999995E-3]
[null,null,1052,1.01E-2]
[null,null,1053,1.18E-2]
[null,null,1054,1.38E-2]
[null,null,1055,1.5800000000000002E-2]
[null,null,1056,1.8100000000000002E-2]
[null,null,1057,2.0400000000000001E-2]
[null,null,1058,2.29E-2]
[null,null,1059,2.5600000000000001E-2]
[null,null,1060,2.8400000000000002E-2]
[null,null,1061,3.1399999999999997E-2]
[null,null,1062,3.44E-2]
[null,null,1063,3.7699999999999997E-2]
[null,null,1064,4.1099999999999998E-2]
[null,null,1065,4.4600000000000001E-2]
[null,null,1066,4.8300000000000003E-2]
[null,null,1067,5.21E-2]
[null,null,1068,5.6099999999999997E-2]
[null,null,1069,6.0199999999999997E-2]
[null,null,1070,6.4500000000000002E-2]
[null,null,1071,6.8900000000000003E-2]
[null,null,1072,7.3400000000000007E-2]
[null,null,1073,7.8100000000000003E-2]
[null,null,1074,8.3000000000000004E-2]
[null,null,1075,8.7999999999999995E-2]
[null,null,1076,9.3100000000000002E-2]
[null,null,1077,9.8400000000000001E-2]
[null,null,1078,0.1038]
[null,null,1079,0.1094]
[null,null,1080,0.11509999999999999]
[null,null,1081,0.12089999999999999]
[null,null,1082,0.12690000000000001]
[null,null,1083,0.13300000000000001]
[null,null,1084,0.13930000000000001]
[null,null,1085,0.1457]
[null,null,1086,0.15229999999999999]
[null,null,1087,0.159]
[null,null,1088,0.1658]
[null,null,1089,0.17280000000000001]
[null,null,1090,0.18]
[null,null,1091,0.18720000000000001]
[null,null,1092,0.1946]
[null,null,1093,0.20219999999999999]
[null,null,1094,0.2099]
[null,null,1095,0.2177]
[null,null,1096,0.22559999999999999]
[null,null,1097,0.23369999999999999]
[null,null,1098,0.24199999999999999]
[null,null,1099,0.25040000000000001]
[null,null,1100,0.25890000000000002]
[null,null,1101,0.26750000000000002]
[null,null,1102,0.27629999999999999]
[null,null,1103,0.28520000000000001]
[null,null,1104,0.29430000000000001]
[null,null,1105,0.30349999999999999]
[null,null,1106,0.31280000000000002]
[null,null,1107,0.32219999999999999]
[null,null,1108,0.33179999999999998]
[null,null,1109,0.34160000000000001]
[null,null,1110,0.35139999999999999]
[null,null,1111,0.3614]
[null,null,1112,0.3715]
[null,null,1113,0.38179999999999997]
[null,null,1114,0.39219999999999999]
[null,null,1115,0.4027]
[null,null,1116,0.4133]
[null,null,1117,0.42409999999999998]
[null,null,1118,0.435]
[null,null,1119,0.44600000000000001]
[null,null,1120,0.4572]
[null,null,1121,0.46839999999999998]
[null,null,1122,0.47989999999999999]
[null,null,1123,0.4914]
[null,null,1124,0.50309999999999999]
[null,null,1125,0.51480000000000004]
[null,null,1126,0.52669999999999995]
[null,null,1127,0.53879999999999995]
[null,null,1128,0.55089999999999995]
[null,null,1129,0.56320000000000003]
[null,null,1130,0.5756]
[null,null,1131,0.58809999999999996]
[null,null,1132,0.6008]
[null,null,1133,0.61360000000000003]
[null,null,1134,0.62639999999999996]
[null,null,1135,0.63939999999999997]
[null,null,1136,0.65259999999999996]
[null,null,1137,0.66579999999999995]
[null,null,1138,0.67920000000000003]
[null,null,1139,0.69259999999999999]
[null,null,1140,0.70620000000000005]
[null,null,1141,0.71989999999999998]
[null,null,1142,0.73380000000000001]
[null,null,1143,0.74770000000000003]
[null,null,1144,0.76180000000000003]
[null,null,1145,0.77590000000000003]
[null,null,1146,0.79020000000000001]
[null,null,1147,0.80459999999999998]
[null,null,1148,0.81910000000000005]
[null,null,1149,0.8337]
[null,null,1150,0.84840000000000004]
[null,null,1151,0.86319999999999997]
[null,null,1152,0.87819999999999998]
[null,null,1153,0.89319999999999999]
[null,null,1154,0.90839999999999999]
[null,null,1155,0.92359999999999998]
[null,null,1156,0.93899999999999995]
[null,null,1157,0.95450000000000002]
[null,null,1158,0.97009999999999996]
[null,null,1159,0.98570000000000002]
[null,null,1160,1.0015000000000001]
[null,null,1161,1.0174000000000001]
[null,null,1162,1.0334000000000001]
[null,null,1163,1.0495000000000001]
[null,null,1164,1.0657000000000001]
[null,null,1165,1.0820000000000001]
[null,null,1166,1.0984]
[null,null,1167,1.1149]
[null,null,1168,1.1315]
[null,null,1169,1.1480999999999999]
[null,null,1170,1.1649]
[null,null,1171,1.1818]
[null,null,1172,1.1988000000000001]
[null,null,1173,1.2159]
[null,null,1174,1.2330000000000001]
[null,null,1175,1.2503]
[null,null,1176,1.2676000000000001]
[null,null,1177,1.2850999999999999]
[null,null,1178,1.3026]
[null,null,1179,1.3202]
[null,null,1180,1.3379000000000001]
[null,null,1181,1.3557999999999999]
[null,null,1182,1.3735999999999999]
[null,null,1183,1.3915999999999999]
[null,null,1184,1.4097]
[null,null,1185,1.4278999999999999]
[null,null,1186,1.4460999999999999]
[null,null,1187,1.4643999999999999]
[null,null,1188,1.4827999999999999]
[null,null,1189,1.5013000000000001]
[null,null,1190,1.5199]
[null,null,1191,1.5386]
[null,null,1192,1.5572999999999999]
[null,null,1193,1.5761000000000001]
[null,null,1194,1.595]
[null,null,1195,1.6140000000000001]
[null,null,1196,1.6331]
[null,null,1197,1.6521999999999999]
[null,null,1198,1.6715]
[null,null,1199,1.6907000000000001]
[null,null,1200,1.7101]