{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["SWIR+ Curve","SWIR+"],"not_rendered":{"charts":2,"images":2,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"SWIR+ Curve","index":0,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"SWIR+","index":1,"n_rows":902,"n_cols":5,"rows_kept":902,"cut":false,"hidden":false,"merged":[[3,0,3,1],[4,0,4,1],[5,0,5,1],[6,0,6,1],[7,0,12,1],[13,0,14,1]]}
[null,null,"λ (nm)","R, 8°","R, 30°"]
[null,null,850,2.0071400000000001,0.33826000000000001]
[null,null,851,1.9044000000000001,0.32369999999999999]
["Theoretical Coating Data",null,852,1.8057300000000001,0.31051000000000001]
["SWIR+ Coating",null,853,1.71106,0.29863000000000001]
["Coating Specification: \n",null,854,1.62029,0.28799000000000002]
["Ravg ≤0.5% @ 900 - 1700nm",null,855,1.53335,0.27851999999999999]
["This data represents the theoretical performance of the coating per surface and is for reference only. \nVariations in performance may occur, however the coating will achieve the minimum performance specification listed above within the specified wavelength range. For more information please contact our Product and Application Support.\n",null,856,1.4501500000000001,0.27017000000000002]
[null,null,857,1.3706100000000001,0.26285999999999998]
[null,null,858,1.2946299999999999,0.25655]
[null,null,859,1.22214,0.25118000000000001]
[null,null,860,1.1530499999999999,0.24668999999999999]
[null,null,861,1.0872599999999999,0.24302000000000001]
["Not what you're looking for? Click here for a full list of our standard AR coatings.",null,862,1.0246900000000001,0.24012]
[null,null,863,0.96526000000000001,0.23794999999999999]
[null,null,864,0.90886999999999996,0.23646]
[null,null,865,0.85543999999999998,0.23558999999999999]
[null,null,866,0.80488999999999999,0.23529]
[null,null,867,0.75722,0.23552000000000001]
[null,null,868,0.71223000000000003,0.23624999999999999]
[null,null,869,0.66983999999999999,0.23743]
[null,null,870,0.62997000000000003,0.23902000000000001]
[null,null,871,0.59255000000000002,0.24099999999999999]
[null,null,872,0.55747999999999998,0.24332999999999999]
[null,null,873,0.52468000000000004,0.24596000000000001]
[null,null,874,0.49408000000000002,0.24886]
[null,null,875,0.46557999999999999,0.25201000000000001]
[null,null,876,0.43911,0.25535000000000002]
[null,null,877,0.41460000000000002,0.25888]
[null,null,878,0.39195999999999998,0.26257000000000003]
[null,null,879,0.37113000000000002,0.26639000000000002]
[null,null,880,0.35203000000000001,0.27032]
[null,null,881,0.33460000000000001,0.27433999999999997]
[null,null,882,0.31875999999999999,0.27840999999999999]
[null,null,883,0.30443999999999999,0.28253]
[null,null,884,0.29157,0.28666999999999998]
[null,null,885,0.28008,0.29081000000000001]
[null,null,886,0.26990999999999998,0.29491000000000001]
[null,null,887,0.26099,0.29897000000000001]
[null,null,888,0.25325999999999999,0.30298000000000003]
[null,null,889,0.24665999999999999,0.30692000000000003]
[null,null,890,0.24113000000000001,0.31079000000000001]
[null,null,891,0.2366,0.31457000000000002]
[null,null,892,0.23302999999999999,0.31824999999999998]
[null,null,893,0.23036000000000001,0.32181999999999999]
[null,null,894,0.22853999999999999,0.32527]
[null,null,895,0.22750999999999999,0.32857999999999998]
[null,null,896,0.22722999999999999,0.33176]
[null,null,897,0.22764999999999999,0.33479999999999999]
[null,null,898,0.22872000000000001,0.33767999999999998]
[null,null,899,0.23039000000000001,0.34040999999999999]
[null,null,900,0.23263,0.34297]
[null,null,901,0.23538000000000001,0.34536]
[null,null,902,0.23860999999999999,0.34759000000000001]
[null,null,903,0.24229000000000001,0.34963]
[null,null,904,0.24636,0.35149999999999998]
[null,null,905,0.25080000000000002,0.35319]
[null,null,906,0.25556000000000001,0.35470000000000002]
[null,null,907,0.2606,0.35600999999999999]
[null,null,908,0.26590000000000003,0.35715000000000002]
[null,null,909,0.27143,0.35809999999999997]
[null,null,910,0.27717000000000003,0.35886000000000001]
[null,null,911,0.28305999999999998,0.35944999999999999]
[null,null,912,0.28910000000000002,0.35985]
[null,null,913,0.29525000000000001,0.36008000000000001]
[null,null,914,0.30149999999999999,0.36013000000000001]
[null,null,915,0.30781999999999998,0.36]
[null,null,916,0.31419999999999998,0.35970999999999997]
[null,null,917,0.3206,0.35924]
[null,null,918,0.32701000000000002,0.35860999999999998]
[null,null,919,0.33339999999999997,0.35782000000000003]
[null,null,920,0.33976000000000001,0.35686000000000001]
[null,null,921,0.34606999999999999,0.35575000000000001]
[null,null,922,0.3523,0.35449000000000003]
[null,null,923,0.35846,0.35308]
[null,null,924,0.36452000000000001,0.35153000000000001]
[null,null,925,0.37047000000000002,0.34983999999999998]
[null,null,926,0.37629000000000001,0.34802]
[null,null,927,0.38197999999999999,0.34605999999999998]
[null,null,928,0.38751999999999998,0.34399000000000002]
[null,null,929,0.39290999999999998,0.34178999999999998]
[null,null,930,0.39813999999999999,0.33948]
[null,null,931,0.40318999999999999,0.33706000000000003]
[null,null,932,0.40805999999999998,0.33454]
[null,null,933,0.41274,0.33191999999999999]
[null,null,934,0.41722999999999999,0.32921]
[null,null,935,0.42153000000000002,0.32641999999999999]
[null,null,936,0.42562,0.32353999999999999]
[null,null,937,0.42949999999999999,0.32058999999999999]
[null,null,938,0.43318000000000001,0.31757000000000002]
[null,null,939,0.43663999999999997,0.31447999999999998]
[null,null,940,0.43987999999999999,0.31133]
[null,null,941,0.44291999999999998,0.30813000000000001]
[null,null,942,0.44573000000000002,0.30487999999999998]
[null,null,943,0.44832,0.30158000000000001]
[null,null,944,0.45068000000000003,0.29825000000000002]
[null,null,945,0.45283000000000001,0.29487999999999998]
[null,null,946,0.45473999999999998,0.29149000000000003]
[null,null,947,0.45641999999999999,0.28808]
[null,null,948,0.45789000000000002,0.28465000000000001]
[null,null,949,0.45913999999999999,0.28120000000000001]
[null,null,950,0.46017000000000002,0.27775]
[null,null,951,0.46099000000000001,0.27429999999999999]
[null,null,952,0.46160000000000001,0.27084000000000003]
[null,null,953,0.46200000000000002,0.26740000000000003]
[null,null,954,0.46218999999999999,0.26395999999999997]
[null,null,955,0.46217999999999998,0.26053999999999999]
[null,null,956,0.46198,0.25713999999999998]
[null,null,957,0.46156999999999998,0.25377]
[null,null,958,0.46098,0.25041999999999998]
[null,null,959,0.4602,0.24709999999999999]
[null,null,960,0.45923999999999998,0.24382000000000001]
[null,null,961,0.45810000000000001,0.24057000000000001]
[null,null,962,0.45678000000000002,0.23737]
[null,null,963,0.45529999999999998,0.23422000000000001]
[null,null,964,0.45365,0.23111999999999999]
[null,null,965,0.45184999999999997,0.22806000000000001]
[null,null,966,0.44989000000000001,0.22506999999999999]
[null,null,967,0.44778000000000001,0.22214]
[null,null,968,0.44552000000000003,0.21926000000000001]
[null,null,969,0.44313999999999998,0.21646000000000001]
[null,null,970,0.44062000000000001,0.21371000000000001]
[null,null,971,0.43797000000000003,0.21104000000000001]
[null,null,972,0.43520999999999999,0.20843]
[null,null,973,0.43232999999999999,0.2059]
[null,null,974,0.42934,0.20344000000000001]
[null,null,975,0.42624000000000001,0.20105999999999999]
[null,null,976,0.42304999999999998,0.19875000000000001]
[null,null,977,0.41976999999999998,0.19653000000000001]
[null,null,978,0.41639999999999999,0.19439000000000001]
[null,null,979,0.41294999999999998,0.19234000000000001]
[null,null,980,0.40943000000000002,0.19037000000000001]
[null,null,981,0.40583999999999998,0.18848999999999999]
[null,null,982,0.40217999999999998,0.18668999999999999]
[null,null,983,0.39846999999999999,0.18498999999999999]
[null,null,984,0.39471000000000001,0.18337000000000001]
[null,null,985,0.39089000000000002,0.18185000000000001]
[null,null,986,0.38704,0.1804]
[null,null,987,0.38313999999999998,0.17904]
[null,null,988,0.37922,0.17777999999999999]
[null,null,989,0.37525999999999998,0.17660000000000001]
[null,null,990,0.37129000000000001,0.17551]
[null,null,991,0.36730000000000002,0.17452000000000001]
[null,null,992,0.36331000000000002,0.17362]
[null,null,993,0.35930000000000001,0.17282]
[null,null,994,0.3553,0.1721]
[null,null,995,0.3513,0.17147000000000001]
[null,null,996,0.3473,0.17091999999999999]
[null,null,997,0.34331,0.17047000000000001]
[null,null,998,0.33933999999999997,0.1701]
[null,null,999,0.33539000000000002,0.16982]
[null,null,1000,0.33145999999999998,0.16963]
[null,null,1001,0.32756999999999997,0.16952999999999999]
[null,null,1002,0.32371,0.16950999999999999]
[null,null,1003,0.31988,0.16958000000000001]
[null,null,1004,0.31608999999999998,0.16972999999999999]
[null,null,1005,0.31235000000000002,0.16996]
[null,null,1006,0.30864999999999998,0.17025999999999999]
[null,null,1007,0.30499999999999999,0.17063999999999999]
[null,null,1008,0.3014,0.1711]
[null,null,1009,0.29786000000000001,0.17163999999999999]
[null,null,1010,0.29437999999999998,0.17224999999999999]
[null,null,1011,0.29094999999999999,0.17293]
[null,null,1012,0.28760000000000002,0.17369000000000001]
[null,null,1013,0.2843,0.17451]
[null,null,1014,0.28108,0.17541000000000001]
[null,null,1015,0.27792,0.17637]
[null,null,1016,0.27483999999999997,0.17738999999999999]
[null,null,1017,0.27184000000000003,0.17848]
[null,null,1018,0.26890999999999998,0.17963000000000001]
[null,null,1019,0.26605000000000001,0.18084]
[null,null,1020,0.26328000000000001,0.18210999999999999]
[null,null,1021,0.26058999999999999,0.18343000000000001]
[null,null,1022,0.25799,0.18481]
[null,null,1023,0.25546999999999997,0.18623999999999999]
[null,null,1024,0.25302999999999998,0.18772]
[null,null,1025,0.25068000000000001,0.18923999999999999]
[null,null,1026,0.24840999999999999,0.19081000000000001]
[null,null,1027,0.24623999999999999,0.19241]
[null,null,1028,0.24415000000000001,0.19406000000000001]
[null,null,1029,0.24215,0.19575000000000001]
[null,null,1030,0.24024000000000001,0.19747999999999999]
[null,null,1031,0.23841999999999999,0.19924]
[null,null,1032,0.23669000000000001,0.20104]
[null,null,1033,0.23505000000000001,0.20286999999999999]
[null,null,1034,0.23351,0.20472000000000001]
[null,null,1035,0.23205000000000001,0.20660999999999999]
[null,null,1036,0.23069000000000001,0.20852000000000001]
[null,null,1037,0.22942000000000001,0.21046000000000001]
[null,null,1038,0.22822999999999999,0.21242]
[null,null,1039,0.22714000000000001,0.21440000000000001]
[null,null,1040,0.22614000000000001,0.21639]
[null,null,1041,0.22523000000000001,0.21840000000000001]
[null,null,1042,0.22441,0.22042999999999999]
[null,null,1043,0.22367000000000001,0.22247]
[null,null,1044,0.22303000000000001,0.22452]
[null,null,1045,0.22245999999999999,0.22656999999999999]
[null,null,1046,0.22198000000000001,0.22861999999999999]
[null,null,1047,0.22158,0.23068]
[null,null,1048,0.22126999999999999,0.23274]
[null,null,1049,0.22103999999999999,0.23480000000000001]
[null,null,1050,0.22089,0.23685]
[null,null,1051,0.22083,0.23891000000000001]
[null,null,1052,0.22084000000000001,0.24096000000000001]
[null,null,1053,0.22092999999999999,0.24301]
[null,null,1054,0.22109000000000001,0.24504999999999999]
[null,null,1055,0.22133,0.24707999999999999]
[null,null,1056,0.22165000000000001,0.24909999999999999]
[null,null,1057,0.22203999999999999,0.25111]
[null,null,1058,0.2225,0.25311]
[null,null,1059,0.22303000000000001,0.25508999999999998]
[null,null,1060,0.22363,0.25705]
[null,null,1061,0.22428999999999999,0.25899]
[null,null,1062,0.22500999999999999,0.26091999999999999]
[null,null,1063,0.22578999999999999,0.26282]
[null,null,1064,0.22664000000000001,0.26468999999999998]
[null,null,1065,0.22753999999999999,0.26654]
[null,null,1066,0.22849,0.26835999999999999]
[null,null,1067,0.22950000000000001,0.27015]
[null,null,1068,0.23055999999999999,0.27192]
[null,null,1069,0.23168,0.27366000000000001]
[null,null,1070,0.23283999999999999,0.27537]
[null,null,1071,0.23405000000000001,0.27704000000000001]
[null,null,1072,0.23530000000000001,0.27867999999999998]
[null,null,1073,0.2366,0.28028999999999998]
[null,null,1074,0.23793,0.28187000000000001]
[null,null,1075,0.23930999999999999,0.28341]
[null,null,1076,0.24073,0.28492000000000001]
[null,null,1077,0.24218000000000001,0.28638999999999998]
[null,null,1078,0.24367,0.28782999999999997]
[null,null,1079,0.24518999999999999,0.28922999999999999]
[null,null,1080,0.24673999999999999,0.29059000000000001]
[null,null,1081,0.24832000000000001,0.29189999999999999]
[null,null,1082,0.24992,0.29318]
[null,null,1083,0.25153999999999999,0.29441000000000001]
[null,null,1084,0.25319000000000003,0.29560999999999998]
[null,null,1085,0.25485000000000002,0.29675000000000001]
[null,null,1086,0.25652000000000003,0.29786000000000001]
[null,null,1087,0.25822000000000001,0.29892000000000002]
[null,null,1088,0.25992999999999999,0.29993999999999998]
[null,null,1089,0.26164999999999999,0.30092000000000002]
[null,null,1090,0.26338,0.30185000000000001]
[null,null,1091,0.26511000000000001,0.30273]
[null,null,1092,0.26684999999999998,0.30357000000000001]
[null,null,1093,0.26860000000000001,0.30436999999999997]
[null,null,1094,0.27034999999999998,0.30512]
[null,null,1095,0.27211000000000002,0.30582999999999999]
[null,null,1096,0.27385999999999999,0.30649999999999999]
[null,null,1097,0.27561000000000002,0.30712]
[null,null,1098,0.27736,0.30769999999999997]
[null,null,1099,0.27911000000000002,0.30823]
[null,null,1100,0.28083999999999998,0.30871999999999999]
[null,null,1101,0.28256999999999999,0.30915999999999999]
[null,null,1102,0.28428999999999999,0.30956]
[null,null,1103,0.28599000000000002,0.30991000000000002]
[null,null,1104,0.28767999999999999,0.31022]
[null,null,1105,0.28935,0.31047999999999998]
[null,null,1106,0.29099000000000003,0.31069000000000002]
[null,null,1107,0.29261999999999999,0.31086000000000003]
[null,null,1108,0.29422999999999999,0.31097999999999998]
[null,null,1109,0.29582000000000003,0.31107000000000001]
[null,null,1110,0.29737999999999998,0.31111]
[null,null,1111,0.29892999999999997,0.31109999999999999]
[null,null,1112,0.30043999999999998,0.31106]
[null,null,1113,0.30192999999999998,0.31097000000000002]
[null,null,1114,0.30338999999999999,0.31084000000000001]
[null,null,1115,0.30482999999999999,0.31067]
[null,null,1116,0.30623,0.31046000000000001]
[null,null,1117,0.30759999999999998,0.31019999999999998]
[null,null,1118,0.30892999999999998,0.30991000000000002]
[null,null,1119,0.31023000000000001,0.30957000000000001]
[null,null,1120,0.3115,0.30919999999999997]
[null,null,1121,0.31274000000000002,0.30880000000000002]
[null,null,1122,0.31394,0.30836000000000002]
[null,null,1123,0.31509999999999999,0.30787999999999999]
[null,null,1124,0.31622,0.30736999999999998]
[null,null,1125,0.31729000000000002,0.30681000000000003]
[null,null,1126,0.31831999999999999,0.30623]
[null,null,1127,0.31930999999999998,0.30560999999999999]
[null,null,1128,0.32025999999999999,0.30495]
[null,null,1129,0.32117000000000001,0.30426999999999998]
[null,null,1130,0.32202999999999998,0.30354999999999999]
[null,null,1131,0.32285000000000003,0.30280000000000001]
[null,null,1132,0.32362999999999997,0.30203000000000002]
[null,null,1133,0.32435999999999998,0.30121999999999999]
[null,null,1134,0.32504,0.30038999999999999]
[null,null,1135,0.32568000000000003,0.29953000000000002]
[null,null,1136,0.32627,0.29864000000000002]
[null,null,1137,0.32682,0.29772999999999999]
[null,null,1138,0.32732,0.29679]
[null,null,1139,0.32777000000000001,0.29582999999999998]
[null,null,1140,0.32817000000000002,0.29483999999999999]
[null,null,1141,0.32852999999999999,0.29383999999999999]
[null,null,1142,0.32884000000000002,0.29282000000000002]
[null,null,1143,0.3291,0.29177999999999998]
[null,null,1144,0.32929999999999998,0.29071999999999998]
[null,null,1145,0.32945000000000002,0.28964000000000001]
[null,null,1146,0.32955000000000001,0.28853000000000001]
[null,null,1147,0.3296,0.28741]
[null,null,1148,0.3296,0.28627000000000002]
[null,null,1149,0.32954,0.28511999999999998]
[null,null,1150,0.32944000000000001,0.28394999999999998]
[null,null,1151,0.32929000000000003,0.28277000000000002]
[null,null,1152,0.32908999999999999,0.28158]
[null,null,1153,0.32884000000000002,0.28037000000000001]
[null,null,1154,0.32854,0.27916000000000002]
[null,null,1155,0.32818999999999998,0.27794000000000002]
[null,null,1156,0.32779000000000003,0.27671000000000001]
[null,null,1157,0.32734000000000002,0.27546999999999999]
[null,null,1158,0.32684000000000002,0.27422999999999997]
[null,null,1159,0.32629999999999998,0.27298]
[null,null,1160,0.32571,0.27173000000000003]
[null,null,1161,0.32506000000000002,0.27046999999999999]
[null,null,1162,0.32436999999999999,0.26922000000000001]
[null,null,1163,0.32363999999999998,0.26795999999999998]
[null,null,1164,0.32285000000000003,0.26669999999999999]
[null,null,1165,0.32201000000000002,0.26543]
[null,null,1166,0.32113999999999998,0.26418000000000003]
[null,null,1167,0.32020999999999999,0.26293]
[null,null,1168,0.31924000000000002,0.26168999999999998]
[null,null,1169,0.31823000000000001,0.26045000000000001]
[null,null,1170,0.31717000000000001,0.25921]
[null,null,1171,0.31606000000000001,0.25796999999999998]
[null,null,1172,0.31491000000000002,0.25673000000000001]
[null,null,1173,0.31372,0.25551000000000001]
[null,null,1174,0.31247999999999998,0.25429000000000002]
[null,null,1175,0.31120999999999999,0.25308000000000003]
[null,null,1176,0.30989,0.25189]
[null,null,1177,0.30853000000000003,0.25069999999999998]
[null,null,1178,0.30713000000000001,0.24951999999999999]
[null,null,1179,0.30570000000000003,0.24836]
[null,null,1180,0.30421999999999999,0.24721000000000001]
[null,null,1181,0.30270999999999998,0.24607999999999999]
[null,null,1182,0.30116999999999999,0.24496999999999999]
[null,null,1183,0.29959000000000002,0.24388000000000001]
[null,null,1184,0.29797000000000001,0.24279999999999999]
[null,null,1185,0.29631000000000002,0.24173]
[null,null,1186,0.29460999999999998,0.24068000000000001]
[null,null,1187,0.29287999999999997,0.23963999999999999]
[null,null,1188,0.29110999999999998,0.23863000000000001]
[null,null,1189,0.28932000000000002,0.23763000000000001]
[null,null,1190,0.28749000000000002,0.23666000000000001]
[null,null,1191,0.28563,0.23571]
[null,null,1192,0.28375,0.23477999999999999]
[null,null,1193,0.28183000000000002,0.23386999999999999]
[null,null,1194,0.27989000000000003,0.23297999999999999]
[null,null,1195,0.27793000000000001,0.23211999999999999]
[null,null,1196,0.27594000000000002,0.23130000000000001]
[null,null,1197,0.27393000000000001,0.23049]
[null,null,1198,0.27189000000000002,0.22972000000000001]
[null,null,1199,0.26983000000000001,0.22897000000000001]
[null,null,1200,0.26774999999999999,0.22824]
[null,null,1201,0.26563999999999999,0.22753999999999999]
[null,null,1202,0.26351000000000002,0.22686000000000001]
[null,null,1203,0.26135999999999998,0.22620999999999999]
[null,null,1204,0.25918999999999998,0.22559999999999999]
[null,null,1205,0.25701000000000002,0.22500999999999999]
[null,null,1206,0.25480999999999998,0.22445999999999999]
[null,null,1207,0.25259999999999999,0.22392999999999999]
[null,null,1208,0.25036999999999998,0.22344]
[null,null,1209,0.24812000000000001,0.22298000000000001]
[null,null,1210,0.24587000000000001,0.22256000000000001]
[null,null,1211,0.24360000000000001,0.22216]
[null,null,1212,0.24132000000000001,0.2218]
[null,null,1213,0.23902999999999999,0.22145999999999999]
[null,null,1214,0.23673,0.22116]
[null,null,1215,0.23441999999999999,0.22090000000000001]
[null,null,1216,0.2321,0.22066]
[null,null,1217,0.22977,0.22045000000000001]
[null,null,1218,0.22744,0.22028]
[null,null,1219,0.22509999999999999,0.22014]
[null,null,1220,0.22276000000000001,0.22004000000000001]
[null,null,1221,0.22042,0.21998000000000001]
[null,null,1222,0.21807000000000001,0.21995000000000001]
[null,null,1223,0.21573000000000001,0.21995999999999999]
[null,null,1224,0.21337999999999999,0.22]
[null,null,1225,0.21103,0.22008]
[null,null,1226,0.20868,0.22019]
[null,null,1227,0.20633000000000001,0.22034000000000001]
[null,null,1228,0.20397999999999999,0.22051999999999999]
[null,null,1229,0.20164000000000001,0.22073999999999999]
[null,null,1230,0.1993,0.22098999999999999]
[null,null,1231,0.19697000000000001,0.22128]
[null,null,1232,0.19464999999999999,0.22162000000000001]
[null,null,1233,0.19234000000000001,0.22198000000000001]
[null,null,1234,0.19003,0.22239]
[null,null,1235,0.18773000000000001,0.22283]
[null,null,1236,0.18543999999999999,0.2233]
[null,null,1237,0.18317,0.22381000000000001]
[null,null,1238,0.18090000000000001,0.22436]
[null,null,1239,0.17865,0.22494]
[null,null,1240,0.17641000000000001,0.22556000000000001]
[null,null,1241,0.17418,0.22620999999999999]
[null,null,1242,0.17196,0.22689999999999999]
[null,null,1243,0.16977,0.22763]
[null,null,1244,0.16758000000000001,0.22839000000000001]
[null,null,1245,0.16541,0.22919]
[null,null,1246,0.16325000000000001,0.23002]
[null,null,1247,0.16111,0.23088]
[null,null,1248,0.15898999999999999,0.23177]
[null,null,1249,0.15689,0.23271]
[null,null,1250,0.15481,0.23366999999999999]
[null,null,1251,0.15275,0.23468]
[null,null,1252,0.15071000000000001,0.23572000000000001]
[null,null,1253,0.1487,0.23679]
[null,null,1254,0.14671000000000001,0.23788999999999999]
[null,null,1255,0.14474000000000001,0.23902999999999999]
[null,null,1256,0.14280000000000001,0.2402]
[null,null,1257,0.14088000000000001,0.24141000000000001]
[null,null,1258,0.13897999999999999,0.24263999999999999]
[null,null,1259,0.13711000000000001,0.24390999999999999]
[null,null,1260,0.13525999999999999,0.24521000000000001]
[null,null,1261,0.13344,0.24654000000000001]
[null,null,1262,0.13164999999999999,0.24790000000000001]
[null,null,1263,0.12989000000000001,0.24929000000000001]
[null,null,1264,0.12814999999999999,0.25070999999999999]
[null,null,1265,0.12644,0.25216]
[null,null,1266,0.12476,0.25363999999999998]
[null,null,1267,0.1231,0.25514999999999999]
[null,null,1268,0.12148,0.25668999999999997]
[null,null,1269,0.11989,0.25825999999999999]
[null,null,1270,0.11833,0.25985000000000003]
[null,null,1271,0.11679,0.26146999999999998]
[null,null,1272,0.11529,0.26312000000000002]
[null,null,1273,0.11382,0.26479000000000003]
[null,null,1274,0.11239,0.26649]
[null,null,1275,0.11098,0.26821]
[null,null,1276,0.1096,0.26995999999999998]
[null,null,1277,0.10825,0.27172000000000002]
[null,null,1278,0.10693999999999999,0.27351999999999999]
[null,null,1279,0.10566,0.27533000000000002]
[null,null,1280,0.10441,0.27717000000000003]
[null,null,1281,0.10321,0.27903]
[null,null,1282,0.10203,0.28092]
[null,null,1283,0.10088999999999999,0.28283000000000003]
[null,null,1284,9.9790000000000004E-2,0.28476000000000001]
[null,null,1285,9.8720000000000002E-2,0.28671000000000002]
[null,null,1286,9.7680000000000003E-2,0.28866999999999998]
[null,null,1287,9.6680000000000002E-2,0.29065999999999997]
[null,null,1288,9.572E-2,0.29266999999999999]
[null,null,1289,9.4789999999999999E-2,0.29469000000000001]
[null,null,1290,9.3899999999999997E-2,0.29672999999999999]
[null,null,1291,9.3039999999999998E-2,0.29879]
[null,null,1292,9.2219999999999996E-2,0.30087000000000003]
[null,null,1293,9.1429999999999997E-2,0.30296000000000001]
[null,null,1294,9.0679999999999997E-2,0.30506]
[null,null,1295,8.9959999999999998E-2,0.30718000000000001]
[null,null,1296,8.9289999999999994E-2,0.30930999999999997]
[null,null,1297,8.8639999999999997E-2,0.31146000000000001]
[null,null,1298,8.8039999999999993E-2,0.31361]
[null,null,1299,8.7470000000000006E-2,0.31578000000000001]
[null,null,1300,8.6929999999999993E-2,0.31796000000000002]
[null,null,1301,8.6430000000000007E-2,0.32014999999999999]
[null,null,1302,8.5970000000000005E-2,0.32235999999999998]
[null,null,1303,8.5540000000000005E-2,0.32457000000000003]
[null,null,1304,8.5150000000000003E-2,0.32679000000000002]
[null,null,1305,8.48E-2,0.32901999999999998]
[null,null,1306,8.4489999999999996E-2,0.33126]
[null,null,1307,8.4209999999999993E-2,0.33350999999999997]
[null,null,1308,8.3970000000000003E-2,0.33576]
[null,null,1309,8.3760000000000001E-2,0.33801999999999999]
[null,null,1310,8.3589999999999998E-2,0.34028000000000003]
[null,null,1311,8.3449999999999996E-2,0.34255000000000002]
[null,null,1312,8.3349999999999994E-2,0.34482000000000002]
[null,null,1313,8.3280000000000007E-2,0.34709000000000001]
[null,null,1314,8.3239999999999995E-2,0.34936]
[null,null,1315,8.3239999999999995E-2,0.35164000000000001]
[null,null,1316,8.3280000000000007E-2,0.35392000000000001]
[null,null,1317,8.3349999999999994E-2,0.35620000000000002]
[null,null,1318,8.3449999999999996E-2,0.35848000000000002]
[null,null,1319,8.3589999999999998E-2,0.36075000000000002]
[null,null,1320,8.3760000000000001E-2,0.36303000000000002]
[null,null,1321,8.3960000000000007E-2,0.36531000000000002]
[null,null,1322,8.4199999999999997E-2,0.36758000000000002]
[null,null,1323,8.4470000000000003E-2,0.36985000000000001]
[null,null,1324,8.4779999999999994E-2,0.37212000000000001]
[null,null,1325,8.5110000000000005E-2,0.37439]
[null,null,1326,8.548E-2,0.37664999999999998]
[null,null,1327,8.5889999999999994E-2,0.37890000000000001]
[null,null,1328,8.6319999999999994E-2,0.38114999999999999]
[null,null,1329,8.6779999999999996E-2,0.38339000000000001]
[null,null,1330,8.7279999999999996E-2,0.38562000000000002]
[null,null,1331,8.7809999999999999E-2,0.38784999999999997]
[null,null,1332,8.8370000000000004E-2,0.39006999999999997]
[null,null,1333,8.8950000000000001E-2,0.39228000000000002]
[null,null,1334,8.9569999999999997E-2,0.39448]
[null,null,1335,9.0219999999999995E-2,0.39667000000000002]
[null,null,1336,9.0889999999999999E-2,0.39884999999999998]
[null,null,1337,9.1600000000000001E-2,0.40100999999999998]
[null,null,1338,9.2329999999999995E-2,0.40316999999999997]
[null,null,1339,9.3090000000000006E-2,0.40531]
[null,null,1340,9.3880000000000005E-2,0.40744000000000002]
[null,null,1341,9.4700000000000006E-2,0.40955999999999998]
[null,null,1342,9.5549999999999996E-2,0.41166999999999998]
[null,null,1343,9.6430000000000002E-2,0.41376000000000002]
[null,null,1344,9.733E-2,0.41583999999999999]
[null,null,1345,9.8250000000000004E-2,0.41789999999999999]
[null,null,1346,9.9199999999999997E-2,0.41993999999999998]
[null,null,1347,0.10018000000000001,0.42197000000000001]
[null,null,1348,0.10117,0.42398000000000002]
[null,null,1349,0.1022,0.42597000000000002]
[null,null,1350,0.10324,0.42793999999999999]
[null,null,1351,0.10431,0.4299]
[null,null,1352,0.10539999999999999,0.43182999999999999]
[null,null,1353,0.10650999999999999,0.43375000000000002]
[null,null,1354,0.10765,0.43564000000000003]
[null,null,1355,0.10879999999999999,0.43752000000000002]
[null,null,1356,0.10997999999999999,0.43936999999999998]
[null,null,1357,0.11118,0.44119999999999998]
[null,null,1358,0.1124,0.44301000000000001]
[null,null,1359,0.11362999999999999,0.44479000000000002]
[null,null,1360,0.11489000000000001,0.44656000000000001]
[null,null,1361,0.11617,0.44829999999999998]
[null,null,1362,0.11745999999999999,0.45001999999999998]
[null,null,1363,0.11878,0.45172000000000001]
[null,null,1364,0.12010999999999999,0.45339000000000002]
[null,null,1365,0.12145,0.45502999999999999]
[null,null,1366,0.12281,0.45665]
[null,null,1367,0.12418999999999999,0.45823999999999998]
[null,null,1368,0.12558,0.45981]
[null,null,1369,0.12698999999999999,0.46133999999999997]
[null,null,1370,0.12841,0.46285999999999999]
[null,null,1371,0.12984000000000001,0.46433999999999997]
[null,null,1372,0.13128000000000001,0.46579999999999999]
[null,null,1373,0.13274,0.46722000000000002]
[null,null,1374,0.13421,0.46861999999999998]
[null,null,1375,0.13569999999999999,0.46999000000000002]
[null,null,1376,0.13719000000000001,0.47133999999999998]
[null,null,1377,0.13869999999999999,0.47265000000000001]
[null,null,1378,0.14022000000000001,0.47393999999999997]
[null,null,1379,0.14174999999999999,0.47520000000000001]
[null,null,1380,0.14327999999999999,0.47642000000000001]
[null,null,1381,0.14482,0.47760999999999998]
[null,null,1382,0.14637,0.47877999999999998]
[null,null,1383,0.14793000000000001,0.47991]
[null,null,1384,0.14949999999999999,0.48100999999999999]
[null,null,1385,0.15107000000000001,0.48207]
[null,null,1386,0.15265000000000001,0.48310999999999998]
[null,null,1387,0.15423000000000001,0.48410999999999998]
[null,null,1388,0.15581999999999999,0.48509000000000002]
[null,null,1389,0.15740999999999999,0.48602000000000001]
[null,null,1390,0.15901000000000001,0.48692999999999997]
[null,null,1391,0.16062000000000001,0.48781000000000002]
[null,null,1392,0.16222,0.48864999999999997]
[null,null,1393,0.16383,0.48946000000000001]
[null,null,1394,0.16544,0.49024000000000001]
[null,null,1395,0.16705999999999999,0.49098000000000003]
[null,null,1396,0.16866999999999999,0.49169000000000002]
[null,null,1397,0.17027999999999999,0.49236000000000002]
[null,null,1398,0.17188999999999999,0.49298999999999998]
[null,null,1399,0.17349999999999999,0.49359999999999998]
[null,null,1400,0.17512,0.49417]
[null,null,1401,0.17673,0.49469999999999997]
[null,null,1402,0.17834,0.49520999999999998]
[null,null,1403,0.17995,0.49568000000000001]
[null,null,1404,0.18156,0.49611]
[null,null,1405,0.18315999999999999,0.49651000000000001]
[null,null,1406,0.18476000000000001,0.49686999999999998]
[null,null,1407,0.18634999999999999,0.49719999999999998]
[null,null,1408,0.18794,0.49748999999999999]
[null,null,1409,0.18951999999999999,0.49774000000000002]
[null,null,1410,0.19109999999999999,0.49796000000000001]
[null,null,1411,0.19267000000000001,0.49814999999999998]
[null,null,1412,0.19424,0.49830000000000002]
[null,null,1413,0.1958,0.49841000000000002]
[null,null,1414,0.19735,0.49848999999999999]
[null,null,1415,0.19889000000000001,0.49853999999999998]
[null,null,1416,0.20043,0.49854999999999999]
[null,null,1417,0.20196,0.49852999999999997]
[null,null,1418,0.20347999999999999,0.49847000000000002]
[null,null,1419,0.20499999999999999,0.49837999999999999]
[null,null,1420,0.20649999999999999,0.49825000000000003]
[null,null,1421,0.20799000000000001,0.49808999999999998]
[null,null,1422,0.20946999999999999,0.49787999999999999]
[null,null,1423,0.21093999999999999,0.49764999999999998]
[null,null,1424,0.21240000000000001,0.49737999999999999]
[null,null,1425,0.21385000000000001,0.49707000000000001]
[null,null,1426,0.21529000000000001,0.49674000000000001]
[null,null,1427,0.21671000000000001,0.49636999999999998]
[null,null,1428,0.21812000000000001,0.49597000000000002]
[null,null,1429,0.21951999999999999,0.49553000000000003]
[null,null,1430,0.22091,0.49506]
[null,null,1431,0.22228000000000001,0.49454999999999999]
[null,null,1432,0.22364000000000001,0.49399999999999999]
[null,null,1433,0.22498000000000001,0.49342000000000003]
[null,null,1434,0.22631000000000001,0.49281000000000003]
[null,null,1435,0.22761999999999999,0.49217]
[null,null,1436,0.22892000000000001,0.49149999999999999]
[null,null,1437,0.23019999999999999,0.49079]
[null,null,1438,0.23147000000000001,0.49004999999999999]
[null,null,1439,0.23272000000000001,0.48927999999999999]
[null,null,1440,0.23396,0.48848000000000003]
[null,null,1441,0.23516999999999999,0.48764000000000002]
[null,null,1442,0.23638000000000001,0.48677999999999999]
[null,null,1443,0.23755999999999999,0.48587999999999998]
[null,null,1444,0.23873,0.48494999999999999]
[null,null,1445,0.23987,0.48398999999999998]
[null,null,1446,0.24099999999999999,0.48299999999999998]
[null,null,1447,0.24210999999999999,0.48197000000000001]
[null,null,1448,0.2432,0.48091]
[null,null,1449,0.24426999999999999,0.47982999999999998]
[null,null,1450,0.24532000000000001,0.47871000000000002]
[null,null,1451,0.24636,0.47756999999999999]
[null,null,1452,0.24737000000000001,0.47639999999999999]
[null,null,1453,0.24837000000000001,0.47520000000000001]
[null,null,1454,0.24934000000000001,0.47398000000000001]
[null,null,1455,0.25030000000000002,0.47271999999999997]
[null,null,1456,0.25123000000000001,0.47144000000000003]
[null,null,1457,0.25213999999999998,0.47011999999999998]
[null,null,1458,0.25302999999999998,0.46877999999999997]
[null,null,1459,0.25390000000000001,0.46740999999999999]
[null,null,1460,0.25474999999999998,0.46600999999999998]
[null,null,1461,0.25557999999999997,0.46460000000000001]
[null,null,1462,0.25639000000000001,0.46316000000000002]
[null,null,1463,0.25718000000000002,0.46168999999999999]
[null,null,1464,0.25794,0.4602]
[null,null,1465,0.25868000000000002,0.45868999999999999]
[null,null,1466,0.25940999999999997,0.45715]
[null,null,1467,0.2601,0.45558999999999999]
[null,null,1468,0.26078000000000001,0.45400000000000001]
[null,null,1469,0.26144000000000001,0.45239000000000001]
[null,null,1470,0.26207000000000003,0.45075999999999999]
[null,null,1471,0.26267000000000001,0.44911000000000001]
[null,null,1472,0.26325999999999999,0.44742999999999999]
[null,null,1473,0.26382,0.44572000000000001]
[null,null,1474,0.26434999999999997,0.44400000000000001]
[null,null,1475,0.26486999999999999,0.44225999999999999]
[null,null,1476,0.26535999999999998,0.44051000000000001]
[null,null,1477,0.26584000000000002,0.43873000000000001]
[null,null,1478,0.26629000000000003,0.43694]
[null,null,1479,0.26671,0.43513000000000002]
[null,null,1480,0.26712000000000002,0.43330000000000002]
[null,null,1481,0.26749000000000001,0.43145]
[null,null,1482,0.26784000000000002,0.42958000000000002]
[null,null,1483,0.26817000000000002,0.42770000000000002]
[null,null,1484,0.26848,0.42580000000000001]
[null,null,1485,0.26876,0.42387999999999998]
[null,null,1486,0.26902999999999999,0.42196]
[null,null,1487,0.26927000000000001,0.42003000000000001]
[null,null,1488,0.26949000000000001,0.41808000000000001]
[null,null,1489,0.26967999999999998,0.41610999999999998]
[null,null,1490,0.26984999999999998,0.41414000000000001]
[null,null,1491,0.27,0.41215000000000002]
[null,null,1492,0.27012000000000003,0.41015000000000001]
[null,null,1493,0.27023000000000003,0.40814]
[null,null,1494,0.27030999999999999,0.40611999999999998]
[null,null,1495,0.27035999999999999,0.40410000000000001]
[null,null,1496,0.27039999999999997,0.40205999999999997]
[null,null,1497,0.27040999999999998,0.40000999999999998]
[null,null,1498,0.27039999999999997,0.39795999999999998]
[null,null,1499,0.27035999999999999,0.39589999999999997]
[null,null,1500,0.27030999999999999,0.39383000000000001]
[null,null,1501,0.27022000000000002,0.39174999999999999]
[null,null,1502,0.27012000000000003,0.38966000000000001]
[null,null,1503,0.26999000000000001,0.38757000000000003]
[null,null,1504,0.26984000000000002,0.38546999999999998]
[null,null,1505,0.26967000000000002,0.38336999999999999]
[null,null,1506,0.26948,0.38127]
[null,null,1507,0.26927000000000001,0.37918000000000002]
[null,null,1508,0.26904,0.37708000000000003]
[null,null,1509,0.26878999999999997,0.37497999999999998]
[null,null,1510,0.26851999999999998,0.37287999999999999]
[null,null,1511,0.26822000000000001,0.37076999999999999]
[null,null,1512,0.26790999999999998,0.36867]
[null,null,1513,0.26756999999999997,0.36657000000000001]
[null,null,1514,0.26722000000000001,0.36448000000000003]
[null,null,1515,0.26684000000000002,0.36237999999999998]
[null,null,1516,0.26644000000000001,0.36029]
[null,null,1517,0.26602999999999999,0.35820999999999997]
[null,null,1518,0.26558999999999999,0.35611999999999999]
[null,null,1519,0.26513999999999999,0.35404999999999998]
[null,null,1520,0.26467000000000002,0.35198000000000002]
[null,null,1521,0.26417000000000002,0.34989999999999999]
[null,null,1522,0.26365,0.34783999999999998]
[null,null,1523,0.26312000000000002,0.34577999999999998]
[null,null,1524,0.26257000000000003,0.34372999999999998]
[null,null,1525,0.26200000000000001,0.34168999999999999]
[null,null,1526,0.26140999999999998,0.33967000000000003]
[null,null,1527,0.26080999999999999,0.33766000000000002]
[null,null,1528,0.26019999999999999,0.33566000000000001]
[null,null,1529,0.25956000000000001,0.33367000000000002]
[null,null,1530,0.25890999999999997,0.33169999999999999]
[null,null,1531,0.25824999999999998,0.32973000000000002]
[null,null,1532,0.25756000000000001,0.32779000000000003]
[null,null,1533,0.25686999999999999,0.32584999999999997]
[null,null,1534,0.25614999999999999,0.32394000000000001]
[null,null,1535,0.25541999999999998,0.32203999999999999]
[null,null,1536,0.25468000000000002,0.32014999999999999]
[null,null,1537,0.25391999999999998,0.31829000000000002]
[null,null,1538,0.25314999999999999,0.31644]
[null,null,1539,0.25236999999999998,0.31461]
[null,null,1540,0.25157000000000002,0.31280000000000002]
[null,null,1541,0.25075999999999998,0.31101000000000001]
[null,null,1542,0.24993000000000001,0.30924000000000001]
[null,null,1543,0.24909000000000001,0.3075]
[null,null,1544,0.24823999999999999,0.30576999999999999]
[null,null,1545,0.24737999999999999,0.30407000000000001]
[null,null,1546,0.24651000000000001,0.30238999999999999]
[null,null,1547,0.24562,0.30073]
[null,null,1548,0.24471999999999999,0.29909000000000002]
[null,null,1549,0.24381,0.29748000000000002]
[null,null,1550,0.24288999999999999,0.2959]
[null,null,1551,0.24196999999999999,0.29435]
[null,null,1552,0.24102999999999999,0.29282999999999998]
[null,null,1553,0.24009,0.29133999999999999]
[null,null,1554,0.23913999999999999,0.28988000000000003]
[null,null,1555,0.23819000000000001,0.28845999999999999]
[null,null,1556,0.23721999999999999,0.28705999999999998]
[null,null,1557,0.23624999999999999,0.28569]
[null,null,1558,0.23527000000000001,0.28436]
[null,null,1559,0.23429,0.28305999999999998]
[null,null,1560,0.23330000000000001,0.28178999999999998]
[null,null,1561,0.23230999999999999,0.28055999999999998]
[null,null,1562,0.23130999999999999,0.27936]
[null,null,1563,0.2303,0.2782]
[null,null,1564,0.22928999999999999,0.27706999999999998]
[null,null,1565,0.22828000000000001,0.27599000000000001]
[null,null,1566,0.22725999999999999,0.27494000000000002]
[null,null,1567,0.22625000000000001,0.27393000000000001]
[null,null,1568,0.22523000000000001,0.27295999999999998]
[null,null,1569,0.22420000000000001,0.27202999999999999]
[null,null,1570,0.22317999999999999,0.27113999999999999]
[null,null,1571,0.22216,0.27028999999999997]
[null,null,1572,0.22112999999999999,0.26949000000000001]
[null,null,1573,0.22011,0.26872000000000001]
[null,null,1574,0.21908,0.26801000000000003]
[null,null,1575,0.21806,0.26733000000000001]
[null,null,1576,0.21704000000000001,0.26671]
[null,null,1577,0.21601999999999999,0.26612000000000002]
[null,null,1578,0.215,0.26558999999999999]
[null,null,1579,0.21399000000000001,0.2651]
[null,null,1580,0.21298,0.26466000000000001]
[null,null,1581,0.21196000000000001,0.26425999999999999]
[null,null,1582,0.21095,0.26390999999999998]
[null,null,1583,0.20995,0.26362000000000002]
[null,null,1584,0.20895,0.26336999999999999]
[null,null,1585,0.20796000000000001,0.26317000000000002]
[null,null,1586,0.20698,0.26302999999999999]
[null,null,1587,0.20601,0.26295000000000002]
[null,null,1588,0.20504,0.26291999999999999]
[null,null,1589,0.20408999999999999,0.26295000000000002]
[null,null,1590,0.20313999999999999,0.26302999999999999]
[null,null,1591,0.20219999999999999,0.26316000000000001]
[null,null,1592,0.20127,0.26334999999999997]
[null,null,1593,0.20035,0.2636]
[null,null,1594,0.19944000000000001,0.26390999999999998]
[null,null,1595,0.19853999999999999,0.26428000000000001]
[null,null,1596,0.19766,0.26469999999999999]
[null,null,1597,0.19678000000000001,0.26518999999999998]
[null,null,1598,0.19592000000000001,0.26573000000000002]
[null,null,1599,0.19506999999999999,0.26634000000000002]
[null,null,1600,0.19424,0.26700000000000002]
[null,null,1601,0.19345999999999999,0.26774999999999999]
[null,null,1602,0.19269,0.26856000000000002]
[null,null,1603,0.19192999999999999,0.26944000000000001]
[null,null,1604,0.19119,0.27038000000000001]
[null,null,1605,0.19047,0.27138000000000001]
[null,null,1606,0.18976999999999999,0.27245000000000003]
[null,null,1607,0.18908,0.27359]
[null,null,1608,0.18840999999999999,0.27478999999999998]
[null,null,1609,0.18776000000000001,0.27606000000000003]
[null,null,1610,0.18712999999999999,0.27739999999999998]
[null,null,1611,0.18651000000000001,0.27879999999999999]
[null,null,1612,0.18592,0.28027999999999997]
[null,null,1613,0.18534999999999999,0.28182000000000001]
[null,null,1614,0.18479999999999999,0.28344000000000003]
[null,null,1615,0.18426999999999999,0.28512999999999999]
[null,null,1616,0.18376000000000001,0.28688999999999998]
[null,null,1617,0.18328,0.28871999999999998]
[null,null,1618,0.18282000000000001,0.29061999999999999]
[null,null,1619,0.18237999999999999,0.29260000000000003]
[null,null,1620,0.18196000000000001,0.29465000000000002]
[null,null,1621,0.18157999999999999,0.29677999999999999]
[null,null,1622,0.18121000000000001,0.29898000000000002]
[null,null,1623,0.18088000000000001,0.30125999999999997]
[null,null,1624,0.18057000000000001,0.30360999999999999]
[null,null,1625,0.18028,0.30603999999999998]
[null,null,1626,0.18003,0.30854999999999999]
[null,null,1627,0.17979999999999999,0.31114000000000003]
[null,null,1628,0.17960000000000001,0.31380000000000002]
[null,null,1629,0.17943999999999999,0.31655]
[null,null,1630,0.17929999999999999,0.31936999999999999]
[null,null,1631,0.17918999999999999,0.32228000000000001]
[null,null,1632,0.17910999999999999,0.32527]
[null,null,1633,0.17906,0.32833000000000001]
[null,null,1634,0.17904999999999999,0.33148]
[null,null,1635,0.17907000000000001,0.33472000000000002]
[null,null,1636,0.17912,0.33803]
[null,null,1637,0.17921000000000001,0.34143000000000001]
[null,null,1638,0.17932999999999999,0.34490999999999999]
[null,null,1639,0.17948,0.34848000000000001]
[null,null,1640,0.17967,0.35213]
[null,null,1641,0.1799,0.35587000000000002]
[null,null,1642,0.18015999999999999,0.35970000000000002]
[null,null,1643,0.18046000000000001,0.36360999999999999]
[null,null,1644,0.18079999999999999,0.36760999999999999]
[null,null,1645,0.18117,0.37169000000000002]
[null,null,1646,0.18157999999999999,0.37586999999999998]
[null,null,1647,0.18204000000000001,0.38013000000000002]
[null,null,1648,0.18253,0.38449]
[null,null,1649,0.18306,0.38893]
[null,null,1650,0.18364,0.39345999999999998]
[null,null,1651,0.18423999999999999,0.39806999999999998]
[null,null,1652,0.18487999999999999,0.40278000000000003]
[null,null,1653,0.18556,0.40758]
[null,null,1654,0.18629000000000001,0.41247]
[null,null,1655,0.18706,0.41744999999999999]
[null,null,1656,0.18787999999999999,0.42253000000000002]
[null,null,1657,0.18873999999999999,0.42770000000000002]
[null,null,1658,0.18964,0.43297000000000002]
[null,null,1659,0.19059000000000001,0.43833]
[null,null,1660,0.19159000000000001,0.44378000000000001]
[null,null,1661,0.19264000000000001,0.44933000000000001]
[null,null,1662,0.19373000000000001,0.45498]
[null,null,1663,0.19486999999999999,0.46072000000000002]
[null,null,1664,0.19606000000000001,0.46655999999999997]
[null,null,1665,0.1973,0.47249999999999998]
[null,null,1666,0.19858999999999999,0.47854000000000002]
[null,null,1667,0.19993,0.48466999999999999]
[null,null,1668,0.20132,0.4909]
[null,null,1669,0.20276,0.49724000000000002]
[null,null,1670,0.20424999999999999,0.50366999999999995]
[null,null,1671,0.20580000000000001,0.51019999999999999]
[null,null,1672,0.2074,0.51683000000000001]
[null,null,1673,0.20905000000000001,0.52356000000000003]
[null,null,1674,0.21074999999999999,0.53039000000000003]
[null,null,1675,0.21251,0.53732999999999997]
[null,null,1676,0.21432999999999999,0.54435999999999996]
[null,null,1677,0.2162,0.55149999999999999]
[null,null,1678,0.21812999999999999,0.55874000000000001]
[null,null,1679,0.22011,0.56608000000000003]
[null,null,1680,0.22214999999999999,0.57352000000000003]
[null,null,1681,0.22425,0.58106999999999998]
[null,null,1682,0.22639999999999999,0.58872000000000002]
[null,null,1683,0.22861999999999999,0.59648000000000001]
[null,null,1684,0.23089000000000001,0.60433000000000003]
[null,null,1685,0.23322000000000001,0.61229999999999996]
[null,null,1686,0.23562,0.62036999999999998]
[null,null,1687,0.23807,0.62853999999999999]
[null,null,1688,0.24059,0.63682000000000005]
[null,null,1689,0.24315999999999999,0.6452]
[null,null,1690,0.24579999999999999,0.65368999999999999]
[null,null,1691,0.2485,0.66229000000000005]
[null,null,1692,0.25126999999999999,0.67098999999999998]
[null,null,1693,0.25408999999999998,0.67979999999999996]
[null,null,1694,0.25697999999999999,0.68872]
[null,null,1695,0.25994,0.69774999999999998]
[null,null,1696,0.26296000000000003,0.70687999999999995]
[null,null,1697,0.26605000000000001,0.71611999999999998]
[null,null,1698,0.26919999999999999,0.72545999999999999]
[null,null,1699,0.27242,0.73492000000000002]
[null,null,1700,0.2757,0.74448000000000003]
[null,null,1701,0.27905000000000002,0.75416000000000005]
[null,null,1702,0.28247,0.76393999999999995]
[null,null,1703,0.28595999999999999,0.77383000000000002]
[null,null,1704,0.28952,0.78383000000000003]
[null,null,1705,0.29314000000000001,0.79393999999999998]
[null,null,1706,0.29683999999999999,0.80415999999999999]
[null,null,1707,0.30059999999999998,0.81449000000000005]
[null,null,1708,0.30443999999999999,0.82491999999999999]
[null,null,1709,0.30835000000000001,0.83547000000000005]
[null,null,1710,0.31231999999999999,0.84613000000000005]
[null,null,1711,0.31636999999999998,0.8569]
[null,null,1712,0.32049,0.86778]
[null,null,1713,0.32468999999999998,0.87878000000000001]
[null,null,1714,0.32895000000000002,0.88988]
[null,null,1715,0.33328999999999998,0.90108999999999995]
[null,null,1716,0.33771000000000001,0.91242000000000001]
[null,null,1717,0.34218999999999999,0.92384999999999995]
[null,null,1718,0.34676000000000001,0.93540000000000001]
[null,null,1719,0.35138999999999998,0.94706000000000001]
[null,null,1720,0.35610999999999998,0.95882999999999996]
[null,null,1721,0.36088999999999999,0.97072000000000003]
[null,null,1722,0.36575999999999997,0.98270999999999997]
[null,null,1723,0.37069999999999997,0.99482000000000004]
[null,null,1724,0.37572,1.0070399999999999]
[null,null,1725,0.38080999999999998,1.0193700000000001]
[null,null,1726,0.38599,1.0318099999999999]
[null,null,1727,0.39123999999999998,1.04437]
[null,null,1728,0.39656999999999998,1.05704]
[null,null,1729,0.40196999999999999,1.06982]
[null,null,1730,0.40745999999999999,1.0827199999999999]
[null,null,1731,0.41303000000000001,1.09572]
[null,null,1732,0.41868,1.10884]
[null,null,1733,0.4244,1.1220699999999999]
[null,null,1734,0.43020999999999998,1.1354200000000001]
[null,null,1735,0.43609999999999999,1.1488799999999999]
[null,null,1736,0.44207000000000002,1.16245]
[null,null,1737,0.44812000000000002,1.1761299999999999]
[null,null,1738,0.45424999999999999,1.1899299999999999]
[null,null,1739,0.46046999999999999,1.20384]
[null,null,1740,0.46677000000000002,1.2178599999999999]
[null,null,1741,0.47315000000000002,1.232]
[null,null,1742,0.47960999999999998,1.24624]
[null,null,1743,0.48615999999999998,1.26061]
[null,null,1744,0.49279000000000001,1.27508]
[null,null,1745,0.49951000000000001,1.2896700000000001]
[null,null,1746,0.50631000000000004,1.30437]
[null,null,1747,0.51319999999999999,1.31918]
[null,null,1748,0.52017000000000002,1.3341099999999999]
[null,null,1749,0.52722000000000002,1.34914]
[null,null,1750,0.53435999999999995,1.36429]